## MASTER (hidden)
TODAY'S DATE
2021-05-19 | LEGEND: |  | 30 DAY DUE | 60 DAY DUE | OVERDUE
GROUP | DESCRIPTION | S/N | OWNER | C/W | DUE
AVIONICS | RAMP TESTER | 1784 | FAIRBANKS | 2011-06-22 | 2012-06-21
AVIONICS | MULTIMETER | 87380240 | SHULTZ | 2011-07-22 | 2012-07-21
AVIONICS | MULTIMETER | 10044730 | KNIGHT | 2011-08-19 | 2012-08-18
AVIONICS | CRIMPER | 46083 | OTP | 2011-08-25 | 2012-08-24
AVIONICS | MULTIMETER | 09060011019 | KIRKENDALL | 2011-08-26 | 2012-08-25
AVIONICS | MULTIMETER | 10080098722 | HARPER | 2011-09-26 | 2012-09-25
AVIONICS | MULTIMETER | 76280102 | SEAVER | 2011-09-26 | 2012-09-25
AVIONICS | TRANSPONDER TEST SET | 1623 | FAIRBANKS | 2011-11-03 | 2012-11-02
AVIONICS | CRIMPER | 1001 | MACKEY | 2011-11-04 | 2012-11-03
AVIONICS | MULTIMETER | 60302608 | COLE | 2011-12-14 | 2012-12-11
AVIONICS | MULTIMETER | CCL030858166 | BABBIE | 2012-01-04 | 2013-01-03
AVIONICS | MEGOHMETER FLUKE 1520 | 90020025 | FAIRBANKS | 2012-02-16 | 2013-02-15
AVIONICS | CRIMPER | K217 | FAIRBANKS | 2012-02-28 | 2013-02-27
AVIONICS | FLUKE MULTIMETER 77 | 49752158 | FAIRBANKS | 2012-03-02 | 2013-03-02
AVIONICS | FLUKE MULTIMETER 73 | 53550826 | PS 4 | 2012-03-06 | 2013-03-06
AVIONICS | MULTIMETER | 50900342 | JACOBS | 2012-03-19 | 2013-03-19
AVIONICS | MULTIMETER | LMJ4232 | JACOBS | 2012-03-19 | 2013-03-19
AVIONICS | FLUKE MULTIMETER 73 | 53550825 | PS5 | 2012-03-23 | 2013-03-23
AVIONICS | CRIMPER M22520/2-01 | LMJ 95175 | JACOBS | 2012-03-23 | 2013-03-23
AVIONICS | CRIMPER M22520/1-01 | LMJ4232-99 | JACOBS | 2012-03-23 | 2013-03-23
AVIONICS | CRIMPER M22520/2-01 | 43886 | FAIRBANKS | 2012-03-23 | 2013-03-23
AVIONICS | CRIMPER M22520/1-01 | 46580 | FAIRBANKS | 2012-03-23 | 2013-03-23
AVIONICS | CRIMPER M22520/1-01 | HSI-2-0102 | FAIRBANKS | 2012-03-23 | 2013-03-23
AVIONICS | MULTIMETER | 08080000575 | MACKEY | 2012-03-26 | 2013-03-26
AVIONICS | MULTIMETER | 06450232 | CHAVEZ | 2012-04-09 | 2013-04-09
AVIONICS | MULTIMETER | 060900588 | FACKLAM | 2012-04-09 | 2013-04-09
AVIONICS | MULTIMETER | 09A03 | RYHTI | 2012-04-09 | 2013-04-09
AVIONICS | MULTIMETER | CCL980443877 | RYHTI | 2012-04-09 | 2013-04-09
AVIONICS | MULTIMETER | 2315209 | FAIRBANKS | 2012-04-19 | 2013-04-19
AVIONICS | XPDR IFR 6000 | 104005201 | FAIRBANKS | 2012-05-04 | 2013-05-04
AVIONICS | MULTIMETER | 6C81 | McKinney | 2012-05-04 | 2013-05-04
AVIONICS | MULTIMETER | 1111X-A1 | FAIRBANKS | 2012-05-08 | 2013-05-08
AVIONICS | MULTIMETER | 801007307 | THOMPSON | 2012-05-09 | 2013-05-09
AVIONICS | MULTIMETER | 1001301 | AMBONI | 2012-05-09 | 2013-05-09
AVIONICS | FLUKE MULTIMETER 73 | 53550700 | Valdez | 2012-05-15 | 2013-05-15
AVIONICS | GO NO-GO GAGE | 11851 | FAIRBANKS | 2012-05-16 | 2013-05-16
AVIONICS | MULTIMETER | 95360459 | GRIFFETH | 2012-05-16 | 2013-05-16
AVIONICS | FLUKE 77 | 35300454 | FAIRBANKS | 2012-05-18 | 2013-05-18
AVIONICS | WATT METER | 156528 | FAIRBANKS | 2012-05-31 | 2013-05-31
AVIONICS | CRIMPER | Crimp 001 | FAIRBANKS | 2012-06-06 | 2013-06-06
AVIONICS | CRIMPER M22520/7-01 | 154494 | FAIRBANKS | 2012-06-06 | 2013-06-06
AVIONICS | CRIMPER M22520/1-01 | 109167 | FAIRBANKS | 2012-06-11 | 2013-06-11
AVIONICS | MULTIMETER | 65EA | ROBERTS | 2012-06-15 | 2013-06-15
AVIONICS | PITOT STATIC TEST SET | 1545 | FAIRBANKS | 2012-06-20 | 2013-06-20
AVIONICS | Fluke 189 [STANDARD] | 86540081 | FAIRBANKS | 2012-06-20 | 2013-06-20
AVIONICS | BARFIELD SIGHT COMPASS | 411 | FAIRBANKS | 2012-06-28 | 2013-06-28
AVIONICS | MULTIMETER | 04090000571 | SUTTON | 2012-06-29 | 2013-06-29
AVIONICS | MULTIMETER | 92130117 | JONES | 2012-06-29 | 2013-06-29
AVIONICS | PITOT STATIC TESTER | 1742 | FAIRBANKS | 2012-07-17 | 2013-07-17
AVIONICS | MULTIMETER | 010309 | Truck/Facility | 2012-07-18 | 2013-07-18
AVIONICS | MULTIMETER | E161088 | Truck/Facility | 2012-07-18 | 2013-07-18
AVIONICS | MULTIMETER FLUKE | 90740362 | BELAND | 2012-08-20 | 2013-08-20
AVIONICS | FLUKE MULTIMETER | 53550707 | PS11 | 2012-08-20 | 2013-08-20
MEASURING | MG MICROMETER | MG 2-3” | FAIRBANKS | 2012-08-22 | 2013-08-22
MEASURING | DIAL HEIGHT GAUGE | 509-313 | FAIRBANKS | 2012-08-22 | 2013-08-22
MEASURING | 0-6" DIGITAL CALIPER | SAC-1 | Mackey | 2011-09-02 | 2012-09-12
MEASURING | 2” DIAL .001” CAL | 4345 | FAIRBANKS | 2011-10-05 | 2012-10-04
MEASURING | DIAL INDICATOR | 61991 | FAIRBANKS | 2011-10-05 | 2012-10-04
MEASURING | DIAL INDICATOR | J-5224 | FAIRBANKS | 2011-10-05 | 2012-10-04
MEASURING | 2” DIAL .001” INDICATOR | 4347 | FAIRBANKS | 2011-10-05 | 2012-10-04
MEASURING | micrometer | WB3355 | Kirkendall | 2011-10-28 | 2012-10-12
MEASURING | DIGITAL CALIPER 8" | TK1 | KIRKENDALL | 2011-10-28 | 2012-10-27
MEASURING | DIGITAL PROTRACTOR | A-4/360 | PS-05 | 2011-11-20 | 2012-11-19
MEASURING | 6” DIGITAL CALIPERS | TB001 | BABBIE | 2011-12-16 | 2012-12-15
MEASURING | 6 in Caliper | J41281 | KNIGHT | 2011-12-16 | 2012-12-16
MEASURING | DIGITAL CALIPER | MP-GJ-1-THOMJ | THOMPSON | 2012-01-19 | 2013-01-18
MEASURING | DIAL INDICATOR | JG0118 | GRIFFETH | 2012-01-20 | 2013-01-19
MEASURING | DIGITAL PROTRACTOR | ALA10011 | FAIRBANKS | 2012-01-31 | 2013-01-30
MEASURING | DIGITAL CALIPERS | 6260031 | VALDEZ | 2012-02-20 | 2013-02-19
MEASURING | CALIPERS 8 IN. | 0046984 | RYHTI | 2012-02-20 | 2013-02-19
MEASURING | 2-3 IN Micrometer | 104 | Ryhti | 2012-02-20 | 2013-02-19
MEASURING | MICROMETER 1 IN. | 01JR01 | RYHTI | 2012-02-20 | 2013-02-19
MEASURING | JO BLOCKS METRIC VISUAL CK. | SET | FAIRBANKS | 2012-02-21 | 2013-02-20
MEASURING | 0-6” JO BLOCKS STD VISUAL CK. | SET | FAIRBANKS | 2012-02-21 | 2013-02-20
MEASURING | INSIDE MICROMETER | JRIM01 | Ryhti | 2012-02-20 | 2013-03-12
MEASURING | STANDARD BLOCK GAUGES (VISUAL) | 21411.2 | FAIRBANKS | 2012-04-29 | 2013-03-12
MEASURING | MICROMETER 0-25 MM | ALA 0-25 | FAIRBANKS | 2012-03-23 | 2013-03-23
MEASURING | 1-2 IN Micrometer | 1912 | Ryhti | 2012-03-23 | 2013-03-23
MEASURING | DIGITAL CALIPER 6” | JG1 | GRIFFETH | 2012-03-23 | 2013-03-23
MEASURING | DIAL INDICATOR | 16469 | VALDEZ | 2012-03-23 | 2013-03-23
MEASURING | DIGITAL CALIPER 4” | 01-08 | FAIRBANKS | 2012-03-23 | 2013-03-23
MEASURING | MICROMETER 0-25 MM | 4108108 | JACOBS | 2012-03-23 | 2013-03-23
MEASURING | MICROMETER 1 IN. | LMJ 4232 | JACOBS | 2012-03-23 | 2013-03-23
MEASURING | CALIPERS 6 IN. | LMJ-4232 | JACOBS | 2012-03-23 | 2013-03-23
MEASURING | DIAL INDICATOR | LMJ 01-08 | JACOBS | 2012-03-23 | 2013-03-23
MEASURING | CALIPERS 6 IN. | 386076 | JACOBS | 2012-03-23 | 2013-03-23
MEASURING | GOUGE GAGE 0-.0025TH | GG07 | FAIRBANKS | 2012-03-27 | 2013-03-27
MEASURING | DIAL INDICATOR | K1694 | PS-04 | 2012-03-27 | 2013-03-27
MEASURING | DIGITAL PROTRACTOR | ALA10010 | FAIRBANKS | 2012-03-27 | 2013-03-27
MEASURING | DIGITAL CALIPER | SRSQ1 | Roberts | 2012-04-16 | 2013-04-16
MEASURING | CALIPERS 0-12 inch | 7036324 | FAIRBANKS | 2012-04-26 | 2013-04-26
MEASURING | DIGITAL CALIPER | 6115674 | PS-4 | 2012-04-26 | 2013-04-26
MEASURING | DIGITAL PROTRACTOR | 10040566 | SUTTON | 2012-04-26 | 2013-04-26
MEASURING | MICROMETER 0-1" | 100487226 | FAIRBANKS | 2012-04-27 | 2013-04-27
MEASURING | DIGITAL CALIPER | 08469669 | FAIRBANKS | 2012-04-27 | 2013-04-27
MEASURING | METRIC BLOCK GAGES (VISUAL) | 6368 870 | FAIRBANKS | 2012-04-30 | 2013-04-30
MEASURING | MICROMETER 150 -175 MM | 103143 | FAIRBANKS | 2012-05-07 | 2013-05-07
MEASURING | MICROMETER SET 0 – 150 MM | SET MM | FAIRBANKS | 2012-05-07 | 2013-05-07
MEASURING | INSIDE MICROMETER | 1512 | FAIRBANKS | 2012-05-07 | 2013-05-12
MEASURING | DEPTH MICROMETER MM | 304434 | FAIRBANKS | 2012-06-07 | 2013-06-07
MEASURING | DIAL INDICATOR (HAHN& KOLB) | ZF-06 | FAIRBANKS | 2012-06-08 | 2013-06-08
MEASURING | CALIPER | 667117 | SUTTON | 2012-06-29 | 2013-06-29
MEASURING | CALIPERS | 5M060202 | PS5 | 2012-07-20 | 2013-07-20
MEASURING | DIAL INDICATOR | E3318 | PS-5 | 2012-07-20 | 2013-07-20
MEASURING | DIGITAL CALIPER 4” | 02-08 | PS-11 | 2012-07-20 | 2013-07-20
MEASURING | SURFACE PLATE, GRANITE | 108622 | FAIRBANKS | 2012-08-07 | 2013-08-07
MEASURING | FOWLER MICROMETER SET | Set 1 1 thru 6 | FAIRBANKS | 2012-08-07 | 2013-08-07
MEASURING | DIGITAL CALIPER | G139088 | COLE | 2012-08-22 | 2013-08-22
MEASURING | JO BLOCKS METRIC (CAL) | SET | FAIRBANKS | 2011-01-18 | 2014-01-18
MEASURING | 0-6” JO BLOCKS STD (CAL) | SET | FAIRBANKS | 2011-01-18 | 2014-01-18
MEASURING | STANDARD BLOCK GAUGES (CAL) | 21411.2 | FAIRBANKS | 2011-03-25 | 2016-03-16
MEASURING | METRIC BLOCK GAGES (CALIBRATE) | 6368 870 | FAIRBANKS | 2012-01-21 | 2017-01-21
GAUGES | PRESS GAGE 0-600 PSI | F149/T-2 | FAIRBANKS | 2011-06-02 | 2012-06-01
GAUGES | 0-15 | F391 | FAIRBANKS | 2011-06-08 | 2012-06-07
GAUGES | GAUGE 100 PSI | F306/6191 | FAIRBANKS | 2011-06-05 | 2012-06-04
GAUGES | PRESS GAUGE 0-100PSI | F146/ALA 100 | FAIRBANKS | 2011-06-08 | 2012-06-12
GAUGES | Hydraulic Press Gauge, O/H | F244 | FAIRBANKS | 2011-07-06 | 2012-07-05
GAUGES | GAUGE 15 PSI | F400/15 | VALDEZ | 2011-07-06 | 2012-07-05
GAUGES | BO 105 R/B Tester Gauge | F240 | FAIRBANKS | 2011-07-22 | 2012-07-21
GAUGES | DEAD WEIGHT TESTER GAUGE | F335/BA 8392 | FAIRBANKS | 2011-08-03 | 2012-08-02
GAUGES | GAGE 0-15 PSI | F404/KC-2 | FAIRBANKS | 2011-08-03 | 2012-08-02
GAUGES | 0-3000 PSI 105 rotor brake | F401/HLI T/3 | FAIRBANKS | 2011-09-02 | 2012-09-12
GAUGES | Hydraulic press gauge, O/H | F334/ALA5907 | FAIRBANKS | 2011-09-14 | 2012-09-12
GAUGES | PRESS GAGE 0-160 | F403/8929 | FAIRBANKS | 2011-09-14 | 2012-09-13
GAUGES | DIGITAL STRAIN METER | ALA 100 | FAIRBANKS | 2010-11-15 | 2012-11-15
GAUGES | PRESS. GAGE 0-5000 PSI | F372/N36626 | FAIRBANKS | 2011-12-09 | 2012-12-08
GAUGES | PRESS GAGE 0-5 PSI | F362/HL-03 | FAIRBANKS | 2011-12-09 | 2012-12-08
GAUGES | PRESS. GAGE 0-5000 PSI MULE | F374T06205 | FAIRBANKS | 2012-03-30 | 2013-03-30
GAUGES | GAUGE 400 PSI | F380/N40659 | FAIRBANKS | 2012-03-30 | 2013-03-30
GAUGES | Gauge | F390 | VALDEZ | 2012-07-30 | 2013-07-30
GAUGES | HYDRAULIC PRESS-GAUGE cart | F406/TO6315 | FAIRBANKS | 2012-08-06 | 2013-08-06
GAUGES | BO 105 R/B Bypass Tester Gauge | F259/12815807 | FAIRBANKS | 2012-08-06 | 2013-08-06
GAUGES | DEAD WEIGHT TESTER GAUGE | F442/BB2277 | FAIRBANKS | 2012-08-06 | 2013-08-06
GAUGES | 0-15 PSI | F159/T1 | FAIRBANKS | 2012-08-06 | 2013-08-12
NDT | ULTRA VIOLET METER | 32087 | FAIRBANKS | 2012-02-16 | 2012-08-16
NDT | WHITE LIGHT METER DLM750 | 31319 | FAIRBANKS | 2012-02-16 | 2012-08-16
NDT | QUICK BREAK TESTER 4131 | F-11050 | FAIRBANKS | 2012-02-16 | 2012-08-16
NDT | MAGNETOMETER | 89-1020 | FAIRBANKS | 2012-02-16 | 2012-08-16
NDT | CALIBRATION SHUNT | 1355 | FAIRBANKS | 2012-03-21 | 2012-09-21
NDT | NDT WATER TEMP GAUGE 0-150° | F080 | FAIRBANKS | 2012-03-30 | 2012-09-28
NDT | WHITE LIGHT METER DLM-1000 | 189148 | FAIRBANKS | 2012-10-01 | 2013-04-01
NDT | ACU-PROBE EDL | MD4091 | FAIRBANKS | 2012-04-09 | 2012-10-08
NDT | MAGNAFLUX MACHINE Cal Check | 56213 | FAIRBANKS | 2012-04-19 | 2012-10-18
NDT | DRYING OVEN CE228 | 33485 | FAIRBANKS | 2012-09-07 | 2012-12-07
NDT | PENETRANT & EMULSIFIER TANKS | Change Bath | FAIRBANKS | 2012-06-21 | 2013-12-31
MISC | CHADWICK 8350 BALANCER | 1842 | FAIRBANKS | 2011-08-17 | 2012-08-16
MISC | PARTS WASHER | 8286 | FAIRBANKS | 2011-08-23 | 2012-08-22
MISC | OVERHEAD HOIST | MH1 | FAIRBANKS | 2011-09-09 | 2012-09-08
MISC | DIGITAL TURBINE TEMP. TESTER | 85 | FAIRBANKS | 2011-09-15 | 2012-09-14
MISC | DIGITAL TEMPERATURE TESTER | 2499 | FAIRBANKS | 2011-10-03 | 2012-10-02
MISC | MANOMETER | 1142000004 | FAIRBANKS | 2011-10-05 | 2012-10-04
MISC | TORQUE TESTER WEIGHTS 5 & 20 lbs. | ALA TTW-SET | FAIRBANKS | 2011-10-15 | 2012-10-14
MISC | BO-105 AUX TANK | 361 | VALDEZ | 2012-02-14 | 2013-02-13
MISC | TEMP PROBE | 90500092 | FAIRBANKS | 2012-02-19 | 2013-02-18
MISC | BO-105 AUX. TANK | 14-115 | FAIRBANKS | 2012-05-01 | 2013-05-01
MISC | CHADWICK 8350 BALANCER | 2255 | PS-5 | 2012-05-01 | 2013-05-01
MISC | CHADWICK CALIBRATOR | 3293 | PS-5 | 2012-05-02 | 2013-05-02
MISC | CHADWICK 8350 BALANCER | 1876 | FAIRBANKS | 2012-06-08 | 2013-06-08
MISC | RADS DAU | 7371 | FAIRBANKS | 2012-08-01 | 2013-08-01
MISC | RADS UTD | 10344 | FAIRBANKS | 2012-08-01 | 2013-08-01
MISC | FUEL QUANTITY | 077 | FAIRBANKS | 2012-08-20 | 2013-08-20
MISC | HYD. MULE OIL AND FILTER CHG. | 8903-14290 | FAIRBANKS | 2012-08-22 | 2013-08-22
SCALES | SPRING SCALE 100LBS. | ALA 133 | 363AL | 2011-07-06 | 2012-07-05
SCALES | SPRING SCALE 0-110 LBS | ALA 1-2009 | 847AL | 2011-09-02 | 2012-09-01
SCALES | SPRING SCALE 0-110 LBS | 04-2009 | 397AL | 2011-10-14 | 2012-10-13
SCALES | SPRING SCALE 0-2 lbs | ALA 96 | FAIRBANKS | 2011-10-14 | 2012-10-13
SCALES | SPRING SCALE 0-50 lbs | 711 | FAIRBANKS | 2011-10-14 | 2012-10-13
SCALES | SPRING SCALE 0-110 LBS | 05-2009 | FAIRBANKS-O/H | 2011-11-14 | 2012-11-13
SCALES | SPRING SCALE 0-110 LBS | ALA 3-2008 | 412BG-OTP | 2011-11-14 | 2012-11-13
SCALES | SPRING SCALE 0-110 | ALA 4-2008 | 415AL | 2011-11-14 | 2012-11-13
SCALES | SPRING SCALE | 10058T | THOMPSON | 2011-11-14 | 2012-11-13
SCALES | SPRING SCALE 1020grams | BTZ1020 | FAIRBANKS | 2011-12-21 | 2012-12-21
SCALES | SPRING SCALE | 8828 | BABBIE | 2012-01-06 | 2013-01-05
SCALES | SPRING SCALE 0-100 LBS | ALA21 | 637AL | 2012-01-17 | 2013-01-16
SCALES | SPRING SCALE 0-100 LBS | 2001 | 176AL | 2012-01-17 | 2013-01-16
SCALES | SPRING SCALE 0-110 LBS | ALA11 06 | 492HL | 2012-01-19 | 2013-01-18
SCALES | FREIGHT SCALE | A039628 | PS-11 | 2012-01-29 | 2013-01-29
SCALES | SPRING SCALE 0-100 LBS | ALA 12-2006 | 193AL | 2012-01-31 | 2013-01-30
SCALES | SPRING SCALE 0-110 LBS | ALA 1-2007 | 407AL PS-4 | 2012-02-08 | 2013-02-07
SCALES | SPRING SCALE 0-50 LBS | HL-330 | PS-04 | 2012-02-08 | 2013-02-07
SCALES | SPRING SCALE 0-15 LBS. | HL-101 | PS-04 | 2012-02-08 | 2013-02-07
SCALES | SPRING SCALE CHATILLION 0-15 lbs | 155 | FAIRBANKS | 2012-02-08 | 2013-02-07
SCALES | HOBART FREIGHT SCALE (master) | G738251 | FAIRBANKS | 2012-02-28 | 2013-02-27
SCALES | SPRING SCALE 0-100 LBS | 12-2001 | 360AL | 2012-03-06 | 2013-03-06
SCALES | SPRING SCALE 0-50 LBS | 150 | JACOBS | 2012-03-06 | 2013-03-06
SCALES | SPRING SCALE 0-110 LBS | ALA 1-2008 | 275AL | 2012-03-23 | 2013-03-23
SCALES | SPRING SCALE 0-15 LBS | 102 | FAIRBANKS | 2012-03-23 | 2013-03-23
SCALES | SPRING SCALE 0-15 LBS. | 154 | VALDEZ | 2012-03-23 | 2013-03-23
SCALES | SPRING SCALE 0-110 LBS | ALA 2-2009 | FAIRBANKS | 2012-04-05 | 2013-04-05
SCALES | AIRCRAFT SCALES | 1309-3C | FAIRBANKS | 2012-04-18 | 2013-04-18
SCALES | SPRING SCALE CHATILLION 15lb | 153 | PS5 | 2012-04-26 | 2013-04-26
SCALES | SPRING SCALE 0-50 lbs | PS5/01 | PS5 | 2012-04-26 | 2013-04-26
SCALES | SPRING SCALE 0-50 lbs | SCC/01 | FAIRBANKS | 2012-06-08 | 2013-06-08
SCALES | Brass weight set | SDM-275 | FAIRBANKS | 2012-06-08 | 2013-06-08
SCALES | FREIGHT SCALE | G829052RT | Deadhorse | 2012-08-02 | 2013-08-02
SCALES | FREIGHT SCALE | A034632 | PS4 | 2012-08-06 | 2013-08-06
TQ | TORQUE WRENCH 150-1000 IN/LBS | 7940021945 | THOMPSON | 2011-05-08 | 2012-05-07
TQ | TORQUE WRENCH 40-200 IN/LBS | DFH55405 | BELAND | 2011-05-27 | 2012-05-26
TQ | TORQUE WRENCH 50-250 FT/LBS | 88302 | BELAND | 2012-09-11 | 2013-09-11
TQ | TORQUE WRENCH 1000 IN/LBS. | 11850006886 | McCLURG | 2012-09-11 | 2013-09-11
TQ | TORQUE WRENCH 50 - 250 FT/LB | 74971 | McCLURG | 2012-09-11 | 2013-09-11
TQ | TORQUE WRENCH 30 – 200 IN/LB | 12890026579 | McCLURG | 2012-09-11 | 2013-09-11
TQ | TORQUE WRENCH 10 -75 FT/LBS | 4030410732 | FACKLAM | 2011-10-14 | 2012-10-13
TQ | TORQUE WRENCH 600 FT/LBS | 4791 | FAIRBANKS | 2011-10-14 | 2012-10-13
TQ | TORQUE WRENCH 40-200 IN/LBS | 0810062426 | BELAND | 2011-10-14 | 2012-10-13
TQ | TORQUE WRENCH 5-40 in/lbs | 0711400649 | SEAVER | 2011-10-14 | 2012-10-13
TQ | TORQUE WRENCH 5-75 in/lbs | 0606795559 | SEAVER | 2011-10-14 | 2012-10-14
TQ | TORQUE WRENCH 600 FT/LBS | 3043 | PS-04 | 2011-10-21 | 2012-10-20
TQ | TORQUE WRENCH 40-200 IN/LBS | 1207505167 | CHAVEZ | 2011-10-28 | 2012-10-27
TQ | TORQUE TESTER DIGITAL | 4771 | FAIRBANKS | 2012-04-29 | 2012-10-28
TQ | TORQUE WRENCH 50-250 FT/LBS | 3846 | FAIRBANKS | 2011-12-02 | 2012-12-01
TQ | TORQUE WRENCH 40-200 IN/LBS. | 1110500714 | SCOTT ROBERTS | 2011-12-02 | 2012-12-01
TQ | TORQUE WRENCH 5 -75 LBS | 0605317595 | CHAVEZ | 2011-12-12 | 2012-12-11
TQ | TORQUE WRENCH 40-200 in/lbs | 0306327766 | SEAVER | 2011-12-12 | 2012-12-11
TQ | TORQUE WRENCH 5-75 ft/lbs | 0406608117 | SUTTON | 2011-12-12 | 2012-12-11
TQ | TORQUE WRENCH 10-50 in/lbs | 0406328958 | SUTTON | 2011-12-12 | 2012-12-11
TQ | TORQUE WRENCH 40-200 in/lbs | 0111500803 | Harper | 2011-12-19 | 2012-12-12
TQ | TORQUE WRENCH 10-150 FT/LBS | DJB29236 | BABBIE | 2011-12-16 | 2012-12-15
TQ | TORQUE WRENCH 30-200 IN/LBS | K2120193 | BELAND | 2011-12-19 | 2012-12-18
TQ | TORQUE WRENCH 20-100 FT LBS | 1978 | BELAND | 2011-12-19 | 2012-12-18
TQ | TORQUE WRENCH 30-200 IN/LBS | 4155824 | BABBIE | 2011-12-29 | 2012-12-28
TQ | TORQUE WRENCH 30-200 IN/LBS. | BC72974 | SCHULZ | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 1000 IN/LBS. | D17497 | SCHULZ | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 30-250 FT/LBS. | AC 85454 | SCHULZ | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 40-200 IN/LBS. | 102200125 | JEFF RYHTI | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 10-75 FT/LBS. | 5961012461 | JEFF RYHTI | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 25-250 FT/LBS. | 930649081 | JEFF RYTHI | 2012-01-19 | 2013-01-18
TQ | TORQUE WRENCH 5-80 FT/LBS | 4030977758 | GRIFFETH | 2012-01-20 | 2013-01-19
TQ | TORQUE WRENCH 40-200 IN/LBS | 600301531 | GRIFFETH | 2012-01-20 | 2013-01-19
TQ | TORQUE WRENCH 40-200 IN/LBS | 1005401531 | FACKLAM | 2012-01-20 | 2013-01-19
TQ | TORQUE WRENCH 30-250 FT/LBS | 04920026582 | THOMPSON | 2012-01-31 | 2013-01-30
TQ | TORQUE WRENCH 100-600 FT LBS | 1110108630 | FAIRBANKS | 2012-02-01 | 2013-01-31
TQ | TORQUE WRENCH 15-100 FT/LBS. | 1880084038 | KIRKENDALL T | 2012-02-09 | 2013-02-08
TQ | TORQUE WRENCH 50-250 FT/LBS. | 101282 | KIRKENDALL T | 2012-02-09 | 2013-02-08
TQ | TORQUE WRENCH 30-200 IN/LBS | 1850018317 | OTTO | 2012-02-20 | 2013-02-19
TQ | TORQUE WRENCH 16-88 IN/LBS. | M010811 | COLE | 2012-02-20 | 2013-02-19
TQ | TORQUE WRENCH | 1090314947 | Roberts | 2012-03-12 | 2013-03-12
TQ | TORQUE WRENCH 1000 IN/LBS. | 598400465 | JACOBS | 2012-03-23 | 2013-03-23
TQ | TORQUE WRENCH 40-200 IN/LBS. | 797101325 | JACOBS | 2012-03-23 | 2013-03-23
TQ | TORQUE WRENCH 10-80 FT/LBS | DFH 53555 | BELAND | 2012-03-23 | 2013-03-23
TQ | TORQUE WRENCH 10-80 FT/LBS | DHD 69271 | MACKEY | 2012-03-23 | 2013-03-23
TQ | TORQUE WRENCH 40-200 IN/LBS | 0206601110 | MACKEY | 2012-03-23 | 2013-03-23
TQ | TORQUE WRENCH 50-250 ft/lbs | 177885 | BELAND | 2012-04-26 | 2013-04-13
TQ | TORQUE WRENCH | 5100101763 | McKinney | 2012-04-26 | 2013-04-26
TQ | TORQUE WRENCH | 08890023772 | McKinney | 2012-04-26 | 2013-04-26
TQ | TORQUE WRENCH 10-80 FT/LBS | DKD85946 | BELAND | 2012-04-26 | 2013-04-26
TQ | TORQUE WRENCH 50-250 ft/lbs | 0112007164 | ROBERTS | 2012-04-26 | 2013-04-26
TQ | TORQUE WRENCH 50-250 ft/lbs | 0705312692 | SUTTON | 2012-04-26 | 2013-04-26
TQ | TORQUE WRENCH 0-300 IN/LBS. | 9631 | FAIRBANKS | 2012-04-27 | 2013-04-27
TQ | TORQUE WRENCH BO-105 BLADE BOLTS | 412 | FAIRBANKS | 2012-04-30 | 2013-04-30
TQ | TORQUE WRENCH BO-105 BLADE BOLTS | 3481 | FAIRBANKS | 2012-04-30 | 2013-04-30
TQ | TORQUE WRENCH 40-200 IN/LBS | 1006321636 | COLE | 2012-05-04 | 2013-05-04
TQ | TORQUE WRENCH 30-200 IN/LBS | 8870050325 | PEABODY | 2012-05-07 | 2013-05-07
TQ | TORQUE MULTIPLIER | 4354/13185 | FAIRBANKS | 2012-05-09 | 2013-05-09
TQ | TORQUE WRENCH 30-200 IN/LBS | 9910037176 | THOMPSON | 2012-05-11 | 2013-05-11
TQ | TORQUE WRENCH 40-200 in/lbs | 0212500988 | AMBONI | 2012-05-11 | 2013-05-11
TQ | TORQUE WRENCH 5-75 ft/lbs | 0711049827 | AMBONI | 2012-05-11 | 2013-05-11
TQ | TORQUE WRENCH 40-200 in/lbs | 0312801809 | AMBONI | 2012-05-14 | 2013-05-14
TQ | TORQUE MULTIPLIER | 5871 | FAIRBANKS | 2012-06-12 | 2013-06-12
TQ | TORQUE WRENCH 30-200 IN/LBS. | 4156576 | TIM KIRKENDALL | 2012-08-12 | 2013-08-12
TQ | TORQUE WRENCH 40-200 IN/LBS | 0509072444 | KNIGHT | 2012-09-11 | 2013-09-11
TQ | TORQUE WRENCH 200-1000 IN/LBS | 0710604072 | KNIGHT | 2012-09-11 | 2013-09-11
Formulas:
DUE = [C/W]+365

## List
TODAY'S DATE
2021-05-19 | LEGEND: |  | THIS MONTH | 30-60 DAYS | OVERDUE
Group | Description | S/N | OWNER | C/W | DUE | Notes | Part
Avionics | Fluke 725 multimeter | 4981149 | Deadhorse | 2020-05-25 | 2021-05-25 | at e2b for cal | 135
NDT | WHITE LIGHT METER DLM750 | 31319 | Fairbanks | 2020-07-23 | 2021-01-21 | Sent Out ADH | 145
NDT | ULTRA VIOLET METER | 32087 | Fairbanks | 2020-07-23 | 2021-01-21 | Sent Out ADH | 145
Gauges | Gauge | MH-1608 | Fairbanks | 2020-04-14 | 2021-04-14 | Sent Out | 135
Track & Balance | Chadwick 8350 Balancer | 1876 | Fairbanks | 2020-04-20 | 2021-04-20 | on shelf | 135
TQ | TORQUE WRENCH 150INLBS | 0819906595 | Brown | 2020-04-30 | 2021-04-30 |  | Personal
TQ | TORQUE WRENCH 100FTLBS | 1706390734 | Brown | 2020-04-30 | 2021-04-30 |  | Personal
Scales | SPRING SCALE CHATILLION 0-15 lbs | 155 | Fairbanks | 2020-05-01 | 2021-05-01 |  | 135
Avionics | CRIMPER M22520/2-01 | 43886 | Fairbanks | 2020-05-01 | 2021-05-01 | on shelf | 135
Avionics | Crimper | 109167 | Fairbanks | 2020-05-01 | 2021-05-01 |  | 135
Avionics | Crimper | 154494 | Fairbanks | 2020-05-01 | 2021-05-01 |  | 135
Avionics | Crimper | ALC021 | Fairbanks | 2020-05-01 | 2021-05-01 | Shelf | 135
Avionics | Crimper | B46083 | Fairbanks | 2020-05-01 | 2021-05-01 | Shelf | 135
Scales | SPRING SCALE 0-15 LBS. | HL-101 | PS-4 | 2020-05-01 | 2021-05-01 |  | 135
Scales | SPRING SCALE 0-50 LBS | HL-330 | PS-4 | 2020-05-01 | 2021-05-01 |  | 135
Track & Balance | RADS KIT | 5151 | Fairbanks | 2021-04-05 | 2022-04-05 |  | 135
TQ | TORQUE WRENCH 40-200 in/lbs | 0119090483 | Ramirez | 2020-05-07 | 2021-05-07 |  | Personal
TQ | TORQUE WRENCH | DSG30359 | Galley | 2020-05-07 | 2021-05-07 |  | Personal
TQ | TORQUE WRENCH | DSG38210 | Galley | 2020-05-07 | 2021-05-07 |  | Personal
Scales | AIRCRAFT SCALES | 1309-3C | Fairbanks | 2020-05-13 | 2021-05-13 |  | 135
TQ | TORQUE WRENCH 1000 IN/LBS. | 598400465 | Jacobs | 2020-05-15 | 2021-05-15 |  | Personal
TQ | TORQUE WRENCH 40-200 IN/LBS. | 797101325 | Jacobs | 2020-05-15 | 2021-05-15 |  | Personal
TQ | TORQUE WRENCH 600 FT/LBS | 32465 | Kodiak | 2020-06-19 | 2021-06-19 |  | 135
Avionics | FLUKE MULTIMETER 73 | 53550826 | PS-4 | 2020-06-05 | 2021-06-05 |  | 135
Measuring | MICROMETER 1 IN. | LMJ 4232 | Jacobs | 2020-06-06 | 2021-06-06 |  | Personal
Measuring | CALIPERS 6 IN. | LMJ-4232 | Jacobs | 2020-06-06 | 2021-06-06 |  | Personal
Avionics | IFR 6000 Transponder Tester | 104005201 | Fairbanks | 2020-06-08 | 2021-06-08 |  | 135
Avionics | MULTIMETER | LMJ4232 | Jacobs | 2020-06-15 | 2021-06-15 |  | Personal
Measuring | DIAL INDICATOR | LMJ 01-08 | Jacobs | 2020-06-15 | 2021-06-15 |  | Personal
Measuring | CALIPER 6 IN. | LMJ4232-101 | Jacobs | 2020-06-15 | 2021-06-15 |  | Personal
Measuring | CALIPERS 6 IN. | 386076 | Jacobs | 2020-06-15 | 2021-06-15 |  | Personal
Measuring | DIAL INDICATOR | LMJ4232 | Jacobs | 2020-06-15 | 2021-06-15 |  | Personal
Avionics | MULTIMETER | 160920784 | Jacobs | 2020-06-16 | 2021-06-16 |  | Personal
Avionics | MULTIMETER | 78880327 | Stobinski | 2020-06-19 | 2021-06-19 |  | Personal
Measuring | 0-6" Caliber | G34753 | Lapp | 2020-06-19 | 2021-06-19 |  | Personal
TQ | TORQUE WRENCH 600 IN/LBS | 13482 | Homer | 2020-07-01 | 2021-07-01 |  | 135
TQ | TORQUE WRENCH 40-200 in/lbs | 0206601110 | Mackey | 2020-06-19 | 2021-06-19 |  | Personal
Scales | SPRING SCALE 0-50 lbs | 0711 | Fairbanks | 2020-06-19 | 2021-06-19 |  | 135
Measuring | INSIDE MICROMETER | 1512 | Fairbanks | 2020-06-19 | 2021-06-19 |  | 145
Scales | SPRING SCALE 1020grams | BTZ1020 | Fairbanks | 2020-06-19 | 2021-06-19 |  | 135
TQ | TORQUE WRENCH 10-80 FT/LBS | DHD69271 | Mackey | 2020-06-19 | 2021-06-19 |  | Personal
Measuring | Micrometer MM SET (6ea) | MM Set 1 | Fairbanks | 2020-06-19 | 2021-06-19 |  | 145
Scales | SPRING SCALE 0-50 LBS | SCC/01 | Fairbanks | 2020-06-19 | 2021-06-19 |  | 135
MISC | BO105 Spare Transmission |  | Fairbanks | 2020-06-20 | 2021-06-20 |  | 135
Avionics | Fluke 189 [STANDARD] | 86540081 | Fairbanks | 2020-06-23 | 2021-06-23 |  | 145
Avionics | Pitot/Static Tester | 1545 | Fairbanks | 2020-06-30 | 2021-06-30 |  | 135
TQ | TORQUE WRENCH 150 IN/LBS | 31126 | Homer | 2020-07-01 | 2021-07-01 |  | 135
Avionics | AEMC micro-ohmeter 6240 | 117996SFDV | Deadhorse | 2020-07-01 | 2021-07-01 |  | 135
Avionics | CONCORDE CAPACITY BATT TESTER | 0000321 | Homer | 2020-07-06 | 2021-07-06 |  | 135
NDT | DRYING OVEN CE228 | 33485 | Fairbanks | 2021-04-01 | 2021-07-01 |  | 145
TQ | TORQUE WRENCH 600 FT/LBS | 4791 | Fairbanks | 2020-07-02 | 2021-07-02 |  | 135
TQ | TQ Wrench 200 in/lbs | 011500803 | Harper | 2020-07-02 | 2021-07-02 |  | Personal
TQ | TORQUE WRENCH 100-750 | 0909113891 | Kendall | 2020-07-02 | 2021-07-02 |  | Personal
TQ | TORQUE WRENCH 40-200 | 1206501785 | Kendall | 2020-07-02 | 2021-07-02 |  | Personal
Avionics | Multimeter | 1812093419 | Mackey | 2020-07-02 | 2021-07-02 |  | Personal
TQ | TQ Wrench 1000 in/lbs | DND18771 | Harper | 2020-07-02 | 2021-07-02 |  | Personal
Gauges | Pressure Gage 100PSI | MH-003 | Deadhorse | 2020-07-14 | 2021-07-14 |  | 135
Gauges | Pressure Gage 100PSI | MH-008 | Deadhorse | 2020-07-14 | 2021-07-14 |  | 135
Gauges | Gauge | MH-10620 | Homer | 2020-07-15 | 2021-07-15 |  | 135
Avionics | Pitot/Static Tester | 1742 | Homer | 2020-07-21 | 2021-07-21 |  | 135
Gauges | Pressure Gauge 160PSI | MH-00004 | Fairbanks | 2020-07-15 | 2021-07-15 |  | 135
Gauges | Pressure Gage 160PSI | MH-8929 | Fairbanks | 2020-07-15 | 2021-07-15 |  | 135
Gauges | BO 105 R/B Bypass Tester Gauge (MH-F259) | MH-F259 | Fairbanks | 2020-07-15 | 2021-07-15 |  | 135
Gauges | 0-200 | MH-F335 | Fairbanks | 2020-07-15 | 2021-07-15 |  | 135
Gauges | Pressure Gauge 160PSI | MH-F616 | Fairbanks | 2020-07-15 | 2021-07-15
Gauges | 0-600 | MH-T2 | Fairbanks | 2020-07-15 | 2021-07-15 |  | 135
Track & Balance | RADS UTD | 10344 | Fairbanks | 2020-07-17 | 2021-07-17 |  | 135
Track & Balance | RADS DAU | 7371 | Fairbanks | 2020-07-17 | 2021-07-17 |  | 135
Track & Balance | RADS CADU | 7384 | Fairbanks | 2020-07-17 | 2021-07-17 |  | 135
Track & Balance | RADS -AT KIT | C631033 | Homer | 2020-08-03 | 2021-08-03 |  | 135
NDT | MAGNAFLUX MACHINE Cal Check | 56213 | Fairbanks | 2021-01-20 | 2021-07-21 |  | 145
TQ | TORQUE WRENCH 40-200 IN/LBS. | 0509072444 | Knight | 2020-07-27 | 2021-07-27 |  | Personal
TQ | TORQUE WRENCH 200-1000 IN/LBS | 0710604072 | Knight | 2020-07-27 | 2021-07-27 |  | Personal
TQ | TORQUE WRENCH 200 IN/LBS. | 1005401531 | Wade | 2020-07-30 | 2021-07-30 |  | Personal
TQ | TORQUE WRENCH 75 FT/LBS. | 4030410732 | Wade | 2020-07-30 | 2021-07-30 |  | Personal
Avionics | BARFIELD TOT TESTER | 537 | Akutan | 2020-08-21 | 2021-08-21 |  | 135
Goggles | NIGHT VISION GOGGLES | 680342 | Homer | 2021-02-24 | 2021-08-23 |  | Personal
NDT | NDT WATER TEMP GAUGE 0-150° | F080 | Fairbanks | 2021-02-02 | 2021-08-04 |  | 145
Gauges | Hydraulic Press Gauge, O/H (MH-F244) | MH-F244 | Fairbanks | 2020-08-04 | 2021-08-04 |  | 145
Gauges | GAGE, HYDRAULIC CART 0-5000 PSI | MH-T06315A | Fairbanks | 2020-08-04 | 2021-08-04 |  | 135
Goggles | NIGHT VISION GOGGLES | 680343 | Homer | 2021-02-24 | 2021-08-23 |  | Personal
Track & Balance | Chadwick 8350 Balancer | 1833 | Homer | 2020-08-31 | 2021-08-31 |  | 135
TQ | TORQUE WRENCH 40-200 IN/LB | 0312500800 | Sholl | 2020-09-21 | 2021-09-21 |  | Personal
Gauges | Digital Pressure Gauge | 9518001001 | Fairbanks | 2020-08-24 | 2021-08-24 |  | 135
Gauges | Digital Pressure Gauge | 9518001007 | Fairbanks | 2020-08-24 | 2021-08-24 |  | 135
TQ | TORQUE WRENCH 250 FT/LBS | 0711054180 | Homer | 2020-10-30 | 2021-10-30 |  | 135
Track & Balance | Chadwick 8350 Balancer | 2255 | PS-5 | 2020-09-01 | 2021-09-01 |  | 135
Track & Balance | Chadwick calibrator | 3293 | PS-5 | 2020-09-01 | 2021-09-01 |  | 135
MISC | DIGITAL TURBINE TEMP. TESTER | 2499 | Fairbanks | 2020-09-03 | 2021-09-03 |  | 135
Avionics | FLUKE MULTIMETER 73 | 53550700 | Valdez | 2020-09-08 | 2021-09-08 |  | 135
Measuring | DIGITAL CALIPERS | 06260031 | Valdez | 2020-09-08 | 2021-09-08 |  | 135
Measuring | DIAL INDICATOR | 16469 | Valdez | 2020-09-08 | 2021-09-08 |  | 135
Measuring | STANDARD BLOCK GAUGES (VISUAL) | 21411.2 | Fairbanks | 2020-09-08 | 2021-09-08 |  | 145
Measuring | METRIC BLOCK GAGES (VISUAL) | 62413.1 | Fairbanks | 2020-09-08 | 2021-09-08 |  | 145
Measuring | JO BLOCKS METRIC VISUAL CK. | SET | Fairbanks | 2020-09-08 | 2021-09-08 |  | 145
Measuring | 0-6” JO BLOCKS STD VISUAL CK. | SET | Fairbanks | 2020-09-08 | 2021-09-08 |  | 145
TQ | TORQUE WRENCH | 011106282 | Knight | 2020-09-08 | 2021-09-08 |  | Personal
Avionics | Multimeter | 75551232 | Galley | 2020-09-09 | 2021-09-09 |  | Personal
Measuring | Caliber 6inch | 0094285 | Galley | 2020-09-09 | 2021-09-09 |  | ersonal
Measuring | Micrometer 0-1" | 0166-602 | Galley | 2020-09-09 | 2021-09-09 |  | personal
Measuring | Micrometer 1-2" | 0166-603 | Galley | 2020-09-09 | 2021-09-09 |  | personal
Scales | Scale 0-11lbs | JA11 | Galley | 2020-09-09 | 2021-09-09 |  | Personal
Scales | SPRING SCALE CHATILLION 15lb | 153 | PS-5 | 2020-09-10 | 2021-09-10 |  | 135
Avionics | CRIMPER M22520/1-01 | 46580 | Fairbanks | 2020-09-10 | 2021-09-10 |  | 135
Avionics | multimeter | 53550825 | PS-5 | 2020-09-10 | 2021-09-10 |  | 135
Measuring | DIGITAL CALIPER | 5M060202 | PS-5 | 2020-09-10 | 2021-09-10 |  | 135
Measuring | DIAL INDICATOR | E3318 | PS-5 | 2020-09-10 | 2021-09-10 |  | 135
Avionics | CRIMPER M22520/1-01 | HSI-2-0102 | Fairbanks | 2020-09-10 | 2021-09-10 |  | 135
Scales | SPRING SCALES 0-50LB | PS5/01 | PS-5 | 2020-09-10 | 2021-09-10 |  | 135
Avionics | CRIMPER M22520/2-01 | LMJ 95175 | Jacobs | 2020-09-10 | 2021-09-10 |  | Personal
Avionics | CRIMPER M22520/1-01 | LMJ4232-99 | Jacobs | 2020-09-10 | 2021-09-10 |  | Personal
Scales | Model in -15 | M-015 | Homer | 2020-11-02 | 2021-11-02 |  | 145
Avionics | CONCORDE CAPACITY BATT TESTER | 00000112 | Fairbanks | 2020-09-23 | 2021-09-23 |  | 135
Track & Balance | Chadwick 8500 Balancer | 3256 | Fairbanks | 2020-09-28 | 2021-09-28 |  | 135
Fluke | Clamp Meter | MH-50460 | Brown | 2020-09-28 | 2021-09-28 |  | Personal
TQ | TORQUE TESTER DIGITAL | 4771 | Fairbanks | 2020-09-29 | 2021-09-29 |  | 145
MISC | DIGITAL TURBINE TEMP. TESTER | 085 | Fairbanks | 2020-10-06 | 2021-10-06 |  | 135
Gauges | Digital Manometer | 03C2X5 | Fairbanks | 2020-10-07 | 2021-10-07 |  | 135
Gauges | Digital Manometer | MH-S974633.001 | Schulz | 2020-10-07 | 2021-10-07 |  | Personal
Gauges | Gauge | MH-F094 | Fairbanks | 2020-10-08 | 2021-10-08 |  | 135
Gauges | 0-5000 | MH-N36626 | Fairbanks | 2020-10-08 | 2021-10-08 |  | 135
Measuring | 0-6" DIGITAL CALIPER | 08469669 | Fairbanks | 2020-10-29 | 2021-10-29 |  | 145
TQ | TORQUE WRENCH 20-200 INLP | HC1422853 | Manley | 2020-11-02 | 2021-11-02 |  | Personal
Measuring | DIGITAL CALIPER | 06115674 | PS-4 | 2020-10-30 | 2021-10-30 |  | 135
Avionics | MULTIMETER | 17166357 | Harper | 2020-10-30 | 2021-10-30 |  | Personal
Measuring | 6 inch Caliber | 20171018 | Harper | 2020-10-30 | 2021-10-30 |  | Personal
Measuring | Caliber 6inch | 20200506 | M.Jones | 2020-10-30 | 2021-10-30 |  | Personal
Measuring | Micrometer | 33200263 | M.Jones | 2020-10-30 | 2021-10-30 |  | Personal
Measuring | DIAL INDICATOR | K1694 | PS-4 | 2020-10-30 | 2021-10-30 |  | 145
Measuring | DIAL INDICATOR (HAHN& KOLB) | ZF-06 | Fairbanks | 2020-10-30 | 2021-10-30 |  | 145
Scales | Model in -30 | M-030 | Homer | 2020-11-02 | 2021-11-02 |  | 145
Scales | Model in -50 | M-050 | Homer | 2020-11-02 | 2021-11-02 |  | 145
TQ | TORQUE WRENCH 3/8 | 0206300020 | Messano | 2020-11-02 | 2021-11-02 |  | Personal
TQ | TORQUE WRENCH 1/4 | 0206400003 | Messano | 2020-11-02 | 2021-11-02 |  | Personal
TQ | TORQUE WRENCH 12 - 240 IN/LB | 0617101740 | Lapp | 2020-11-02 | 2021-11-02 |  | Personal
Measuring | MICROMETER 2 IN | 00260 | Homer | 2020-11-20 | 2021-11-20 | missing cert | 135
Measuring | Inside MICROMETER | 305 | Homer | 2020-11-20 | 2021-11-20 | missing cert | 135
Gauges | Pressure Gauge 15 PSI | MH-F391A | Fairbanks | 2020-11-11 | 2021-11-11 |  | 135
Gauges | Pressure Gauge 15 PSI | MH-F391B | Fairbanks | 2020-11-11 | 2021-11-11 |  | 135
TQ | TQ WRENCH 20-200inchlbs | 0516505059 | Smith | 2020-11-18 | 2021-11-18 |  | Personal
TQ | TQ WRENCH 5-40inchlbs | 1116402680 | Smith | 2020-11-18 | 2021-11-18 |  | Personal
Measuring | CALIBER 6inch | 1311070 | Smith | 2020-11-18 | 2021-11-18 |  | Personal
Mesurind | Micrometer 1inch | 150777688 | Smith | 2020-11-18 | 2021-11-18 |  | Personal
TQ | TORQUE WRENCH 0-60inchlbs | RED134 | Smith | 2020-11-18 | 2021-11-18 |  | Personal
Mesurind | Micrometer 2inch | 150462406 | Smith | 2020-11-19 | 2021-11-19 |  | Personal
Measuring | MICROMETER 1 IN | E76498 | Homer | 2020-11-20 | 2021-11-20 | missing cert | 135
Measuring | MICROMETER 3-4 | MHI 324 | Homer | 2020-11-20 | 2021-11-20 | missing cert | 135
Measuring | MICROMETER 2-3 INCH | MHI223 | Homer | 2020-11-20 | 2021-11-20 | missing cert | 135
Avionics | DIGITAL PROTRACTOR | 11062358 | Homer | 2021-01-05 | 2022-01-05 |  | 135
TQ | POWER DYNE | 2456 | Homer | 2021-01-08 | 2022-01-08 |  | 135
Measuring | MICROMETER 0-1" | 100487226 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | MICROMETER SET | 1-2SET1-2 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | MICROMETER SET | 3047902 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | MICROMETER SET | 3-4SET1-4 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | MICROMETER SET | 4-5SET1-5 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | MICROMETER SET | 5-6SET1-6 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
NDT | MAGNETOMETER | 97-302 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Measuring | DEPTH MICROMETER Gouge gauge | GG07 | Fairbanks | 2020-11-20 | 2021-11-20 |  | 145
Mesurind | Micrometer 3inch | 150776494 | Smith | 2020-11-20 | 2021-11-20 |  | Personal
measuring | DIGITAL CALIPER 4” | 01-08 | Fairbanks | 2020-11-23 | 2021-11-23 |  | 145
TQ | Torque wrench 200inclbs | 0120901687 | McKone | 2020-11-23 | 2021-11-23 |  | personal
TQ | TORQUE WRENCH 200in/lbs | 0815502058 | Schulz | 2020-11-23 | 2021-11-23 |  | Personal
Measuring | DIAL INDICATOR | 992153604 | Fairbanks | 2020-11-23 | 2021-11-23 |  | 145
TQ | TORQUE WRENCH 1000in/lbs | D17497 | Schulz | 2020-11-23 | 2021-11-23 |  | Personal
TQ | Torque Wrench 5-75 ftlbs | 0605317595 | Chavez | 2020-11-23 | 2021-11-23 |  | Personal
TQ | Torque Wrench 40-200 inlbs | 1207505167 | Chavez | 2020-11-23 | 2021-11-23 |  | Personal
Measuring | 2” DIAL .001” CAL | 4345 | Fairbanks | 2020-11-24 | 2021-11-24 |  | 145
Measuring | 0-6" DIGITAL CALIPER | SAC-1 | Mackey | 2020-11-24 | 2021-11-24 |  | Personal
Measuring | CALIPERS 6 IN. | J41281 | Knight | 2020-11-24 | 2021-11-24 |  | Personal
TQ | TORQUE WRENCH 0-300 IN/LBS. | 9631 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 135
TQ | TORQUE WRENCH 15-100 FT/LBS | 06910046941 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 135
TQ | Torque wrench 100 ftlbs | 0815091037 | Harper | 2020-11-25 | 2021-11-25 |  | Personal
TQ | TORQUE WRENCH 600 FT/LBS | 1110108630 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 135
Measuring | DIGITAL PROTRACTOR | ALA10010 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 145
Measuring | DIGITAL PROTRACTOR | ALA10011 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 145
TQ | Torque wrench 6inchlbs | DS1F96CZHM | Peter | 2020-11-25 | 2021-11-25 |  | Personal
Gauges | Gauge | MH-00005 | Fairbanks | 2020-11-25 | 2021-11-25 |  | 135
NDT | MAGNETOMETER | 89-1020 | Fairbanks | 2020-12-02 | 2021-12-02 |  | 145
NDT | NDT WATER PRESS GAUGE 0-100 PSI | ALA-100 | Fairbanks | 2020-12-09 | 2021-12-09 |  | 145
Gauges | Pressure Gauge | MH-00008 | Fairbanks | 2020-12-09 | 2021-12-09
Gauges | Pressure Gage | MH-F177 | Fairbanks | 2020-12-09 | 2021-12-09 |  | 135
Gauges | 0-30 | MH-F583A | Fairbanks | 2020-12-09 | 2021-12-09 |  | 135
Gauges | Pressure Gage 5K | MH-T06205 | Fairbanks | 2020-12-09 | 2021-12-09 |  | 135
TQ | TORQUE WRENCH TESTER | 1109 | Homer | 2020-01-13 | 2022-01-12 |  | 135
TQ | TORQUE WRENCH 600 FT/LBS | 3043 | Homer | 2021-02-04 | 2022-02-04 |  | 135
Measuring | DIAL INDICATOR | 00234 | Homer | 2021-02-05 | 2022-02-05 | missing cert | 135
NDT | MAGNAFLUX MACHINE Clean | 56213 | Fairbanks | 2020-01-14 | 2022-01-13 |  | 145
Gauges | Gauge | MH-97302 | Fairbanks | 2021-01-13 | 2022-01-13 |  | 135
MISC | BO-105 AUX TANK | 361 | Fairbanks | 2021-01-20 | 2022-01-20 |  | 135
TQ | TORQUE WRENCH BO-105 BLADE BOLTS | 412 | Fairbanks | 2021-01-20 | 2022-01-20 |  | 135
TQ | TORQUE WRENCH BO-105 BLADE BOLTS | 3481 | Fairbanks | 2021-01-20 | 2022-01-20 |  | 135
Avionics | MULTIMETER | 60302608 | Cole | 2021-01-20 | 2022-01-20 |  | Personal
Measuring | Caliber | 06595289 | Kendall | 2021-01-20 | 2022-01-20 |  | Personal
MISC | BO-105 AUX. TANK | 14-115 | Fairbanks | 2021-01-20 | 2022-01-20 |  | 135
Measuring | MICROMETER 1 IN | 436-1 | Kendall | 2021-01-20 | 2022-01-20 |  | Personal
Avionics | Multimeter | 49860036SV | McKone | 2021-01-20 | 2022-01-20 |  | Personal
Avionics | Multimeter | 97630053 | Drinkard | 2021-01-20 | 2022-01-20 |  | Personal
MISC | TORQUE TESTER WEIGHTS 5 & 20 lbs. | ALA TTW-SET | Fairbanks | 2021-01-20 | 2022-01-20 |  | 145
Scales | SPRING SCALE 0-15LBS | GKEN | Kendall | 2021-01-20 | 2022-01-20 |  | Personal
Measuring | 6in caliber | Mck5280 | McKone | 2021-01-20 | 2022-01-20 |  | Personal
Scales | SPRING SCALE 0-15 LBS. | 154 | Valdez | 2021-01-25 | 2022-01-25 |  | 135
TQ | TORQUE WRENCH 50-250 FT/LBS | 3846 | Fairbanks | 2021-01-25 | 2022-01-25 |  | 135
Scales | SPRING SCALE 0-1000 GRAMS | 1191 | Fairbanks | 2021-01-25 | 2022-01-25 |  | 135
Scales | SPRING SCALE 0-1000 GRAMS | 1192 | Fairbanks | 2021-01-25 | 2022-01-25 |  | 135
TQ | TORQUE WRENCH 50-250 FT/LBS | 1711491250 | Lister | 2021-01-25 | 2022-01-25 |  | Personal
TQ | TORQUE WRENCH 20-100 FT/LBS | 1807392280 | Lister | 2021-01-25 | 2022-01-25 |  | Personal
TQ | TORQUE WRENCH 30-200 IN/LBS | P250042 | Lister | 2021-01-25 | 2022-01-25 |  | Personal
Avionics | MULTIMETER | 0714X-B1 | Lister | 2021-01-26 | 2022-01-26 |  | Personal
Measuring | CALIBER | 200295EC | Lister | 2021-01-26 | 2022-01-26 |  | Personal
Measuring | MICROMETER 0-1" | JTL001 | Lister | 2021-01-26 | 2022-01-26 |  | Personal
MISC | OVERHEAD HOIST | MH1/O/H | Fairbanks | 2021-01-28 | 2022-01-28 |  | 145
Fuel | THERMOMETER | 57882 | Fairbanks | 2020-02-02 | 2022-02-01 |  | 135
TQ | TORQUE WRENCH 200 ft/lbs | 09870103406 | Homer | 2021-02-05 | 2022-02-05 |  | 135
Measuring | DIAL INDICATOR | GA3400 | Homer | 2021-02-05 | 2022-02-05 | missing cert | 135
TQ | TORQUE WRENCH 200IN/LB | 0116800275 | Stevens | 2021-02-08 | 2022-02-08 |  | Personal
Measuring | T5 Cable Tensiometer | 79497 | Deadhorse | 2021-02-10 | 2022-02-10 |  | 135
Avionics | Milli OHM Meter | 2016968 | Fairbanks | 2021-02-05 | 2022-02-05
MISC | TEMP PROBE | 90500092 | Fairbanks | 2021-02-05 | 2022-02-05 |  | 145
TQ | TORQUE WRENCH 100 FT/LB | 0908520102 | Stobinski | 2021-02-17 | 2022-02-17 |  | Personal
TQ | TORQUE WRENCH 200 IN/LBS | 11910037064 | Stobinski | 2021-02-17 | 2022-02-17 |  | Personal
TQ | TORQUE MULTIPLIER | 4354 | Fairbanks | 2021-02-10 | 2022-02-10 |  | 135
NDT | WHITE LIGHT METER DLM-1000 | 189148 | Fairbanks | 2021-02-15 | 2022-02-15 |  | 145
NDT | E-Z PROBE EDL | EZPYRMHI | Fairbanks | 2021-02-16 | 2022-02-16 |  | 145
TQ | TORQUE WRENCH 300IN/LB | 41256 | Stobinski | 2021-02-17 | 2022-02-17 |  | Personal
Track & Balance | Chadwick 8350 Balancer | 1485 | Akutan | 2021-02-26 | 2022-02-26 |  | 135
TQ | TORQUE WRENCH 200IN/LBS | 713603127 | Akutan | 2021-03-01 | 2022-03-01 |  | 135
NDT | DTM-25A | 1355 | Fairbanks | 2021-02-22 | 2022-02-22 |  | 145
MISC | BARFIELD SIGHT COMPASS | 3694 | Homer | 2021-03-05 | 2022-03-05 | FAI 4/23, going to DAC | 135
TQ | TORQUE WRENCH 200-1000 IN/LBS. | 0213502552 | Akutan | 2021-03-16 | 2022-03-16 |  | 135
TQ | TORQUE WRENCH 600 FT/LBS | 56493 | Akutan | 2021-03-16 | 2022-03-16 |  | 135
TQ | TORQUE WRENCH 5-100FT/LB | 2013008241 | Lapp | 2021-03-15 | 2022-03-31 |  | Personal
Measuring | Dial Caliper 6" CAL6DA | C181253162 | Stevens | 2021-04-07 | 2022-04-07 |  | Personal
Avionics | Fluke 754 calibrator | 49150038 | Deadhorse | 2021-04-15 | 2022-04-15 |  | 135
Avionics | Digital Multimeter EEDM504F | 21130795 | Homer | 2021-04-21 | 2022-04-21 |  | 145
Avionics | BARFIELD SIGHT COMPASS | 411 | Fairbanks | 2021-04-12 | 2022-04-12 |  | 135
Measuring | Dial indicator servo | 5709334 | Fairbanks | 2021-04-14 | 2022-04-14 |  | 135
TQ | TORQUE WRENCH 200 in/LBS | 1006321636 | Cole | 2021-04-14 | 2022-04-14 |  | Personal
Fuel | THERMOMETER | 57877 | Fairbanks | 2021-04-14 | 2022-04-14 |  | 135
Track & Balance | Chadwick calibrator | 2488 | Fairbanks | 2021-04-14 | 2022-04-14 |  | 135
Avionics | CRIMPER | 1001 | Mackey | 2021-04-14 | 2022-04-14 |  | Personal
Measuring | DIGITAL PROTRACTOR | A-4360 | PS-5 | 2021-04-14 | 2022-04-14 |  | 135
Avionics | FLUKE MULTIMETER | 53550707 | PS-11 | 2021-04-14 | 2022-04-14 |  | 135
Measuring | DIGITAL CALIPER 4” | 08113872 | PS-11 | 2021-04-14 | 2022-04-14 |  | 135
Scales | SPRING SCALE 0-2 LBS | 96 | Facklem | 2021-04-14 | 2022-04-14 |  | Personal
Scales | SPRING SCALE 0-50 LBS | GSR11 | PS-11 | 2021-04-14 | 2022-04-14 |  | 135
Measuring | 12" Caliber | 7036324 | Fairbanks | 2021-04-14 | 2022-04-14 |  | 145
Measuring | DIGITAL CALIPER | G139088 | Cole | 2021-04-14 | 2022-04-14 |  | Personal
Measuring | Fluke Thermoter | 98560346 | Drinkard | 2021-04-14 | 2022-04-14 |  | personal
Avionics | IFR 4000 Transponder Tester | 2000001029 | Deadhorse | 2021-04-21 | 2022-04-21 |  | 135
Measuring | FUEL QUANTITY TEST SET | 751 | Fairbanks | 2021-04-15 | 2022-04-15 |  | 135
TQ | TORQUE WRENCH 100 FT/LB | 0608520608 | Stobinski | 2021-05-03 | 2022-05-03 |  | Personal
TQ | TORQUE MULTIPLIER | 5871 | Fairbanks | 2021-04-22 | 2022-04-22 |  | 135
Measuring | 6" Caliber | GS092737 | Panzarello | 2021-04-28 | 2022-04-28 |  | Personal
Avionics | Multimeter | 12070336A | Panzarello | 2021-04-28 | 2022-04-28 |  | Personal
TQ | Torque Wrench 200 inch lbs | 0321712905 | Panzarello | 2021-04-28 | 2022-04-28 |  | Personal
TQ | TORQUE WRENCH 200IN/LB | 07940019442 | Stobinski | 2021-05-03 | 2022-05-03 |  | Personal
Measuring | Dial Depth Gage | 2ZUH1 | Homer | 2021-05-07 | 2022-05-07 |  | 145
Fuel | THERMOMETER | 57871 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57872 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57873 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57876 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57878 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57881 | Fairbanks | 2020-05-07 | 2022-05-07 |  | 135
Fuel | THERMOMETER | 57879 | Fairbanks | 2020-09-09 | 2022-09-09 |  | 135
Avionics | BARFIELD TOT TESTER | 4102 | Homer | 2021-05-11 | 2022-05-11 |  | 135
Scales | EVERGREEN A/C SCALE | 1347-3C | Homer | 2021-04-06 | 2023-04-06 |  | 135
NDT | PENETRANT & EMULSIFIER TANKS | Change Bath | Fairbanks | 2018-08-25 | 2023-08-25 |  | 145
Formulas:
DUE = [C/W]+365

## Calibrate Before Use (CBU)
TODAY'S DATE
2021-05-19 | Calibrate Before Use (CBU)
Group | Description | S/N | Owner | Notes
CBU | Dial Indicator | 0291 |  |  | 1900-12-30
CBU | Digital Level | Prospect Arpt |  |  | 1900-12-30
CBU | Depth Micrometer | BADM01 |  |  | 1900-12-30
CBU | UV meter | 32071 |  |  | 1900-12-30
CBU | Dial indicator | 999354 |  |  | 1900-12-30
CBU |  | 1GA49621008 |  |  | 1900-12-30
CBU | Thermocouple | 80TK |  |  | 1900-12-30
CBU | Ultra sound USM 22B | Y4K212A |  |  | 1900-12-30
CBU | Torque Wrench Tester | B-190 |  |  | 1900-12-30
CBU | Torque Wrench Tester | 209 | Fairbanks |  | 1900-12-30
CBU | DIAL HEIGHT GAUGE | 509-313 |  |  | 1900-12-30
| QUICK BREAK TESTER 4131 | F-11050 |  |  | 1900-12-30
CBU | DEPTH MICROMETER MM | 304434 | Fairbanks |  | 1900-12-30
CBU | DIAL INDICATOR | 4347 | Fairbanks |  | 1900-12-30
Measuring | MG MICROMETER | MG 2-3” | Fairbanks | 2015-09-01 | 2016-08-31 | parts room | 145
Measuring | MICROMETER 0-25 MM | ALA 0-25 | Fairbanks | 2015-09-02 | 2016-09-01 | parts room | 145
Measuring | MICROMETER 150 -175 MM | 103143 | Fairbanks | 2015-09-23 | 2016-09-22 | parts room | 145
Scales | Freight Scale | A034631 | Valdez | 2015-11-23 | 2017-11-22 |  | 135
Track & Balance | Chadwick 8350 Balancer | 1842 | PS-11 | 2017-04-21 | 2018-04-21 | on shelf | 135
Avionics | MULTIMETER | 49752158 | ? | 2018-09-06 | 2019-09-06 | on shelf
Avionics | VOR Tester KTM NC 2210 | 1784 | Fairbanks | 2018-09-17 | 2019-09-17 |  | 135
Gauges | gauge |  | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-F616 | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-T06205 | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-F177 | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-F255 | Fairbanks |  | 1900-12-30
Gauges | gauge | MHF391 | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-00004 | Fairbanks |  | 1900-12-30
Gauges | gauge | MH-00007 | Fairbanks |  | 1900-12-30
Avionics | MULTIMETER | 40431054WS | Fairbanks | 2019-05-16 | 2020-05-15 |  | Personal
Measuring | MICROMETER 0-1" | 120541052 | Knight | 2019-09-23 | 2020-09-22 |  | Personal
Measuring | MICROMETER 2-3" | 120542578 | Knight | 2019-09-23 | 2020-09-22 |  | Personal
Measuring | MICROMETER 1-2" | 120542625 | Knight | 2019-09-23 | 2020-09-22 |  | Personal
Avionics | MULTIMETER | 06125993 | Kendall | 2019-08-06 | 2020-08-05 |  | Personal
Avionics | MULTIMETER | 10044730 | Knight | 2019-11-22 | 2020-11-21 |  | Personal

## suspect lost-failed cal-retired
Gauges | GAGE, HYDRAULIC CART 0-5000 PSI | MH-T06315 | Fairbanks | 2019-02-08 | 2020-02-08 | FAILED 07/15/2020 | 135
TQ | TORQUE WRENCH | 11910037380 | Homer | 2014-07-26 | 2015-07-26 |  | 135
TQ | TORQUE WRENCH 200 in/LBS | 07940019442 | Homer | 2014-10-22 | 2015-10-22 |  | 135
Measuring | MICROMETER 2 IN | XF2751 | Reed | 2014-12-14 | 2015-12-14 | Failed
measuring | DIGITAL CALIPER 6 | 293883 | Fairbanks | 2015-07-17 | 2016-07-16 |  | 145
TQ | TORQUE WRENCH 40-200 INLBS | 0713603127 | Akutan |  | 2016-07-16 |  | 135
|  |  |  | 2016-01-06 | 2017-01-05 | quarentined | 145
Measuring | Dial Indicator | 0196 | Kendall | 2016-03-18 | 2017-03-18 |  | Personal
Measuring | Dial Indicator | 0399 | Kendall | 2016-03-18 | 2017-03-18 |  | Personal
Avionics | MULTIMETER | 090400156 | Warner | 2016-05-26 | 2017-05-26 |  | Personal
TQ | TORQUE WRENCH 50-250 FT/LBS. | 101282 | Kirkendall | 2016-06-05 | 2017-06-05 | on shelf | Personal
NDT | NDT PRESSURE GAGE 200PSI | 2959014 | Fairbanks | 2016-08-26 | 2017-08-26 | Failed | 145
Avionics | Multimeter | 06450232 | Chavez | 2017-08-28 | 2018-08-28 | email sent | Personal
TQ | TORQUE WRENCH 75 FT/LBS | RR1075 | Ray | 2017-10-28 | 2018-10-28 |  | Personal
Scales | SPRING SCALE, 0-100 LB | 03-2009 | Fairbanks | 2017-11-07 | 2018-11-07 |  | 135
Avionics | Multimeter | 28411067 | Fairbanks | 2018-01-04 | 2019-01-04 |  | Personal
Measuring | Caliber 6inch | LB80001 | Pearson | 2018-06-13 | 2019-06-13 |  | Personal
NDT | NDT WATER TEMP GAUGE 0-150° | F255/0404 | Fairbanks | 2018-09-10 | 2019-09-10 | Failed Certification 10/10/2019 | 145
TQ | TORQUE WRENCH 20-100 FT LBS | 01880084038 | Kirkendall | 2018-10-29 | 2019-10-29 |  | Personal
Measuring | MICROMETER | WB3355 | Kirkendall | 2018-10-29 | 2019-10-29 |  | Personal
Gauges | Gauge | MH-00006 | Fairbanks | 2018-12-14 | 2019-12-14 |  | 135
Fuel | THERMOMETER | 57880 | Fairbanks | 2018-01-05 | 2020-01-05 |  | 135
Fuel | THERMOMETER | 57875 | Fairbanks | 2018-01-05 | 2020-01-05 |  | 135
Fuel | THERMOMETER | 57874 | Fairbanks | 2018-01-05 | 2020-01-05 |  | 135
TQ | TORQUE WRENCH 40-200 IN/LBS | 1808391578 | LeBlanc | 2019-02-21 | 2020-02-21 |  | Personal
TQ | TORQUE WRENCH 20-100 FT/LBS | 08017168 | LeBlanc | 2019-02-22 | 2020-02-22 |  | Personal
TQ | TORQUE WRENCH 30-200 IN/LBS. | 4156576 | Kirkendall | 2019-07-09 | 2020-07-08 |  | Personal
Measuring | MICROMETER 0-1" | E628 | Vesga | 2019-11-02 | 2020-11-01 |  | Personal
TQ | Torque wrench 25-250inlbs | 5061114005 | Vesga | 2019-11-22 | 2020-11-21 |  | Personal
Measuring | 0-6" DIGITAL CALIPER | 17021916 | Vesga | 2019-11-22 | 2020-11-21 |  | Personal
TQ | TORQUE WRENCH 100ft/lbs | 0797300750 | Pearson | 2020-01-20 | 2021-01-19 |  | Personal
TQ | TORQUE WRENCH 200in/lbs | 09920042836 | Pearson | 2020-01-20 | 2021-01-19 |  | Personal
Avionics | Multimeter | 67631241 | Lapp | 2020-01-20 | 2021-01-19 | Failed calibration | Personal
Scales | SPRING SCALE 0-50 LBS | JTLANIHC | Lister | 2020-03-06 | 2021-03-06 | failed cal | Personal
Scales | Spring scale 0-75 | M057 | Fairbanks | 2020-06-19 | 2021-06-19 | failed 2/12/21 | 135
TQ | 40 inch lbs | 0411400521 | Jones | 2020-07-30 | 2021-07-30 |  | Personal
TQ | 200 inch lbs | 0810058024 | Jones | 2020-07-30 | 2021-07-30 |  | Personal
Gauges | Pressure Gauge 15PSI | MH-F391 | Fairbanks | 2020-08-05 | 2021-08-05 |  | 135
TQ | TORQUE WRENCH 30-200 IN/LBS | 1850018317 | Otto | 2020-09-08 | 2021-09-08 |  | Personal
TQ | Torque Wrench 40-200 inlbs | 0816502438 | Painter |  |  |  | Personal
TQ | TORQUE WRENCH 40-200 IN/LBS | 0516505059 | Smith |  |  |  | Personal
Avionics | MULTIMETER | 27520463 | Jones |  |  |  | Personal
TQ | TORQUE WRENCH 40 IN/LBS | 0315401200 | Jones |  |  |  | Personal
TQ | TORQUE WRENCH 8-40 IN/LBS | 1116402680 | Smith |  |  |  | Personal
TQ | TORQUE WRENCH 5-100 FT/LBS | 0715801498 | Smith |  |  |  | Personal
TQ | TORQUE WRENCH 10-60 IN/LBS | RED134 | Smith |  |  |  | Personal
Measuring | micrometer 0-1 | 150777688 | Smith |  |  |  | Personal
Measuring | micrometer 1-2 | 150462406 | Smith |  |  |  | Personal
Measuring | micrometer 2-3 | 150776494 | Smith |  |  |  | Personal
TQ | TORQUE WRENCH 250ft/lbs | 270966 | Marshall |  |  |  | Personal
TQ | TORQUE WRENCH 80ftlbs | WTJ87537 | Marshall |  |  |  | Personal
TQ | TORQUE WRENCH 200in/lbs | 1107302393 | Marshall |  |  |  | Personal
Scales | SPRING SCALE 0-15 LBS | 102 | Jacobs |  |  |  | Personal
Scales | SPRING SCALE 0-50 LBS | 150 | Jacobs |  |  |  | Personal
Measuring | MICROMETER 0-25 MM | 4108108 | Jacobs |  |  |  | Personal
Scales | SPRING SCALE, 0-100 LB | LMJ 4232 | Jacobs |  |  |  | Personal
Gauges | Gauge | MH-400PSI | Fairbanks | 2019-06-10